



Issue 14: 25.05.17

Whereas every precaution has been taken in the preparation of this document, Cefas cannot be held responsible for the accuracy of any statement or representation made nor the consequences arising from the use of or alteration to any information contained within. All references to Cefas must be removed if any alterations are made to this publication.
History of Procedure

	Issue
	Date 
	Section
	Changes

	11
	20.01.15
	Appendix 2
	Amendments to MPN values – Added 5 0 0 0 tube combination.

	12
	25.02.16
	1, 2 and 11
	Update of ISO 16649-3 publication date.

	
	
	2
	Rewording of note regarding how the MPN tables were generated.

	
	
	6
	The addition of Peptone salt solution (PSS).

	
	
	7.2, 8.6 and 8.7
	Amendments to reference strains to be consistent with ISO 16649-3. The inclusion of link to identify WDCM numbers.

	
	
	8.5.2 
	The addition of note stating all dilutions tested should be included when obtaining the MPN value.

	
	
	Footnotes 1 - 10
	Included throughout the protocol.

	
	
	8.7
	Change of incubation time from 22(2 hrs to 21(3 hrs. Rewording of text regarding the streaking and stacking of TBGA/TBX plates. 

	
	
	8.8
	Rewording to address issues when calculating the MPN value. The inclusion of the Excel spreadsheet MPN calculator for 3 and 4 dilutions.

	
	
	Appendix 2
	Application and use of the MPN calculator

	13
	13.09.16
	5.0, 8.6 and 8.7
	Change sterile loop from 1µl to 10µl

	
	
	7.0
	Reference strains updated to include both strains as a minimum and those that are the laboratories free to choose.

	
	
	8.4 and 8.5.1 
	Notes moved and added to footnote.

	
	
	8.6
	MMGB diluent volume added to text.  

	
	
	8.7
	Update to reference strains.

	
	
	8.8.1
	Update to MPN calculator Version 4.

	
	
	Appendix 2
	Update to the application of the MPN calculator 

	14
	25.05.17
	2.0 note
	The inclusion of the bivalve shellfish MPN calculator

	
	
	8.1
	Sample temperature criteria for samples receipted within 4 hours of sample collection. 

	
	
	8.8
	Clear description for the inoculation of TBGA/TBX plates from incubated MMGB tubes

	
	
	8.8, footnote and 8.8.1 
	Removal of old MPN calculator and replaced with the Shellfish MPN calculator

	
	
	11
	Update to References

	
	
	12.1 footnote
	The inclusion of (for very small species such as the Donax spp. a minimum amount of 25g is permitted).


Contents

31
Introduction


32
Scope


33
Principle


34
Safety precautions


35
Equipment


46
Media 


47
Microbiological reference cultures for performance testing and controls


48
Procedures


48.1.
Sample transport and receipt


58.2 
Sample storage


58.3 
Sample selection


58.4   
Sample preparation


58.4.1
The oyster cracker


58.4.2
Shucking with a knife


58.5   
Dilution and homogenisation  


68.5.1 
Homogenisation in a blender (homogeniser)


68.5.2 
Homogenisation in a stomacher 


68.6  
Inoculation and incubation of primary broth


68.7   
Confirmation of E. coli


78.8   
Calculation of E. coli most probable number (MPN)


78.8.1 
The Shellfish MPN calculator


78.8.2 
MPN tables


78.9    
Reporting results


89
Uncertainty of test results


810
Quality control


810.1
Internal Quality Assurance (IQA)


810.2
Proficiency testing


811
References


1012
Appendices


1012.1 
Appendix 1: Sub sample sizes of shellfish required for E. coli analysis


1112.2
Appendix 2: E. coli Most Probable Number tables (MPN)


1112.2.1
Table 1: Most probable number of organisms: table for multiple tube methods using 5 ( 1g, 5 ( 0.1g, 5 ( 0.01g.


1212.2.2
Table 2: Most probable number of organisms: table for multiple tube methods using 5 ( 1g, 5 ( 0.1g, 5 ( 0.01g, 5 ( 0.001 g.


1412.3
Appendix 3: Application and use of the MPN calculator


1412.3.1
Calculating the MPN value using 3 dilutions


1712.3.2
Calculating the MPN value using 4 dilutions




1 Introduction

The consumption of sewage polluted bivalve molluscan shellfish (BMS) may cause illness in the consumer through ingestion of faecally borne pathogens (such as Salmonella, norovirus and hepatitis A virus). The risks of exposure to these infectious agents are compounded by the traditional consumption of raw, or only lightly cooked BMS. Enteric bacteria, such as Escherichia coli (E. coli) are used as indicator organisms to assess the sanitary quality of shellfish and their growing waters and to predict the risk of exposure to enteric pathogenic microorganisms. 

In the European Union (EU), the criteria for laying down the microbiological standards for BMS are set out in Regulation (EC) 854/2004 (Anon 2004) and Regulation (EC) 2073/2005 (Anon 2005) stipulating conditions for the production and placing on the market of live BMS. Across the EU E. coli in shellfish flesh is used as an indicator of faecal contamination of BMS. The EU reference method for the determination of E. coli in BMS is ISO 16649-3. ‘Microbiology of food and animal feeding stuffs - Horizontal method for the enumeration of β-glucuronidase-positive Escherichia coli Part 3: Most probable number technique using 5-bromo-4-chloro-3-indolyl-β-D-glucuronide’ (Anon 2015).

2 Scope
The procedure has been produced with reference to ISO 16649-3 (Anon 2015) and relevant parts of ISO standards referenced in section 11. The theoretical limit of detection is a most probable number (MPN) of 18     E. coli per 100g of shellfish flesh. In the context of this test E. coli produces acid from lactose at 37±1˚C and expresses (-glucuronidase activity at 44±1˚C.

Note: The 5x3 and 5x4 MPN tables included in this procedure have been generated using the MPN calculator referenced in ISO 7218:2007/Amd1:2013.  Values have been converted from MPN/g to MPN/100g. A bivalve shellfish MPN calculator has been developed and is included in this protocol.
3 Principle
The method used to enumerate E. coli in BMS is a two-stage, five-tube three-dilution MPN method. The first stage of the method is a resuscitation step requiring inoculation of minerals modified glutamate broth (MMGB) with a series of diluted shellfish homogenates and incubation at 37±1˚C for 24±2 hours. The presence of E. coli is confirmed by subculturing acid producing tubes onto agar containing 5-bromo-4-chloro-3-indolyl-(-D glucuronide and detecting (-glucuronidase activity.   
Note: Strains of E. coli that do not grow at 44±1˚C and those that are β-glucuronidase negative, such as E. coli O157 and some other strains of pathogenic E. coli, will not be detected by this method.

4 Safety precautions
Standard microbiology safety precautions should be applied throughout. Laboratories should perform a full risk assessment before performing this procedure. Homogenisation of shellfish should be performed in a Class II safety cabinet to reduce the risk of infection from aerosol inhalation. E. coli should be handled in accordance with ACDP category 2 guidelines.

5 equipment

· Waring blender and jars or stomacher and stomacher bags

· Class II safety cabinet 

· Refrigerator at 3(2˚C 
· Sterile glassware

· Safety/electric Bunsen system

· Protective gloves – single use

· Safety gloves – for example a chain mail glove

· Incubator at 37(1˚C and 44(1˚C
· Shucking knife, Oyster cracker or other suitable equipment for opening shellfish
· Electric top pan balance

· Loops - sterile, 10μl
· Pipette - automatic or manual for use with 1ml and 10ml pipette tips

6 Media 
, 
, 

· Ethanol

· 0.1% peptone (0.1% P); formula per litre - de-ionised water 1(0.01 litre, peptone bacteriological 1.0(0.1g.
· Peptone salt solution (PSS); formula per litre - de-ionised water 1(0.01 litre, peptone 1.0(0.1g, sodium chloride 8.5(0.1g, pH 7.0±0.2.
· Minerals modified glutamate broth (MMGBx1, MMGBx2) - Single strength - de-ionised water 1(0.01 litre, ammonium chloride 2.5(0.1g, sodium glutamate 6.4(0.1g, minerals modified medium base 11.4(0.1g. Double strength - de-ionised water 1(0.01 litre, ammonium chloride 5.0(0.1g, sodium glutamate 12.8(0.1g, minerals modified medium base 22.8(0.1g, pH 6.7±0.1.
· Tryptone bile glucuronide agar (TBGA/TBX); formula per litre - de-ionised water 1(0.01 litre, tryptone bile glucuronide agar 36.5(0.5g, pH 7.2±0.2.
7 Microbiological reference cultures for performance testing and controls 
Table 1: Microbiological reference strains used for control purposes

	Media type
	Control strain
	WDCM a
	Criteria
	Characteristic reaction
	Strain choice c

	Mineral-modified glutamate medium (MMGB)
	Escherichia coli          
	00012 or 00013
	Acid production
	Colour change to yellow
	1

	
	Enterococcus faecalis 
	00009 or 00087
	No growth
	No colour change
	1

	Tryptone bile glucuronide agar (TBGA/TBX)
	Escherichia coli          
	00202
	Blue to blue-green colonies
	B-glucuronidase positive (weak)
	2

	
	Escherichia coli          
	00012 or 00013
	Blue to blue-green colonies
	B-glucuronidase positive
	1

	
	Enterococcus faecalis 
	00009 or 00087
	Total inhibition
	no growth
	1

	
	Pseudomonas aeruginosa
	00025
	White to beige colonies
	B-glucuronidase negative
	1

	
	Citrobacter freundii b
	00006 
	
	
	

	a Follow the link (http://www.phe-culturecollections.org.uk/products/bacteria/WDCMStrains.aspx) to obtain NCTC number for WDCM reference strains.

b  Following the sub-culturing of C. freundii onto TBGA/TBX plates, the EURL noted growth was not always present. The EURL recommends the use of P. aeruginosa over C. freundii.

c  Reference strains given in ISO 16649-3 for use in performance testing. Strain selection: 1 - Laboratory must select 1 strain from the list provided; 2 - Strain to be used as a minimum.


8 Procedures
8.1. Sample transport and receipt
Samples must be received in an intact food grade plastic bag and properly packed in a cool box with ice packs – packed in this manner they should reach a temperature between 0˚C and 10˚C within 4 hours and then maintain this for at least 24 hours.  For samples where less than 4 hours have elapsed between collection from the production area and receipt at the laboratory, internal air temperature should be less than the temperature recorded at the time of sampling. Samples should be regarded as unsatisfactory if on receipt at the laboratory the sample is frozen, the container is leaking, the shellfish are covered in mud or immersed in water or mud/sand.

The sample transport criteria given here are extracted from ISO 6887-3. The use of alternate sample transport criteria may be acceptable, where verification studies have been undertaken and the results of those studies demonstrate that there is no significant effect on the quality of the test results. For Official Controls, it is recommended that verification studies supporting the use of sample transport criteria outside of the ranges given in ISO 6887-3 are approved by the relevant Competent Authority. 
Note: The UK NRL has carried out studies on the effect of extended storage time and elevated temperatures on certain species of BMS. The report of this work can be accessed using the following web link https://www.cefas.co.uk/nrl/information-centre/reports/
8.2 
Sample storage
Upon receipt in the laboratory the temperature of the samples should be recorded. Samples should be examined immediately - if storage in the laboratory is necessary then samples should be stored at 3±2˚C, and should be processed within 24 hours of collection. If initiation of the microbiological analysis cannot be within 24 hours of sample collection, data should be generated to show that extended storage does not affect the microbiological content of the sample. 
8.3 
Sample selection
Choose shellfish that are alive according to the following points:

· Movement of any kind if any exposed flesh reacts to touch using a sterile shucking knife.

· Shellfish are open and close of their own accord.

· A tap on the shell causes closing or movement.

· Tightly closed shellfish.

Discard all dead shellfish and those with obvious signs of damage. Select the appropriate number depending on the species (Appendix 1). More shellfish can be used, if necessary, to produce the required volumes for each analysis. 

8.4   Sample preparation 
Mud and sediment adhering to the shell should be removed prior to opening by rinsing/scrubbing under cold, running tap water of potable quality. Shellfish should not be re-immersed in water as this may cause them to open. Open all selected shellfish as described below with a flame sterilised shucking knife or equivalent and empty meat and liquor into a sterile container 
. If sterilised by heating allow the knife to cool before using. When opening shellfish ensure that the hand holding the shellfish is protected with a heavy-duty safety glove to prevent cuts.

8.4.1 The oyster cracker

Sterilise the pin of the oyster cracker before use. Place a single animal in a weighing boat underneath the shucking device and rest the shucking leaver at the hinge. Pull the handle down to separate the shells. Using a sterilised shucking knife cut the muscle and scrape the meat of both shell halves into the sterilised container. Transfer any liquor collected in the weighing boat into the sterilised container.

8.4.2 Shucking with a knife

Using a sterilised shucking knife, open all selected shellfish as described below:

8.4.2.1 Oysters and large clams
Insert the knife between the two shells towards the hinge end of the animal. Push the knife further into the animal and prise open the upper shell, allowing any liquor to drain into the sterilised container. Push the blade through the animal and sever the muscle attachments by sliding across the animal. Remove the upper shell and scrape the contents of the lower shell into the sterilised container. 

8.4.2.2 Mussels, cockles and small clams
Insert the knife in between the shells of the animal and separate the shells with a twisting motion of the knife. Collect the liquor from the animal in the sterilised container then cut the muscle between the shells and scrape the contents into the sterilised container. 

8.5   Dilution and homogenisation 
 

Weigh the sterile container and calculate the weight of the contents by subtracting the weight of the pre-weighed sterile container to the nearest gram. Add 2ml of sterile 0.1% P or PSS per 1g of shellfish using a measuring cylinder and measure to ±2ml. 

Note: Complete either sections 8.5.1 or 8.5.2.
8.5.1 
Homogenisation in a blender (homogeniser)
Place the contents of the sterilised container into a 1 litre blender jar 
 and homogenise at high speed for approximately 1 minute (4 bursts of 15 seconds with at least 5 seconds between bursts) in a class II microbiological laminar flow cabinet. Decant the contents back into the sterilised container. 
8.5.2 
Homogenisation in a stomacher 

If a stomacher (peristaltic homogeniser) is used, the initial homogenisation should be carried out using a proportion of the volume of diluent calculated, and the resultant homogenate added to the rest of the final volume and thoroughly mixed. Place the contents of the sterile container into at least three stomacher bags, to avoid small pieces of shell from puncturing the bags. Remove excess air from the bag. Operate the stomacher for 2-3 minutes.

Add 30±0.5ml of mixed homogenate to 70±1ml of 0.1% P using a 10ml pipette to make a master 10-1 dilution. Thoroughly mix by vigorous shaking of the bottle. Make further decimal dilutions to 10-2 in 0.1% P by adding 1ml of the 10-1 dilution to 9ml of 0.1% P. If samples are expected to be heavily polluted (Category C or above) further decimal dilutions may be necessary.

Note: For samples where more than 3 dilutions are tested, ensure the results from each dilution tested is used to calculate the MPN value in section 8.8. 

8.6   Inoculation and incubation of primary broth

Inoculate five bottles containing 10±0.2ml of double strength MMGB with 10±0.2ml of the 10‑1 diluted homogenate (equivalent to 1g of tissue per tube). Inoculate five bottles containing 10±0.2ml of single strength MMGB with 1±0.1ml of the 10‑1 diluted homogenate (0.1g). Inoculate five bottles containing 10±0.2ml of single strength MMGB with 1±0.1ml of the 10-2 diluted homogenate (0.01g) and repeat with any further dilutions. Inoculate individual bottles containing 10±0.2ml of single strength MMGB for E. coli WDCM 00012 or 00013 and a separate single strength MMGB with E. faecalis WDCM 00009 or 00087 using a 10µl loop 
. Include an uninoculated bottle of single strength MMGB as a negative control. Incubate inoculated bottles of MMGB at 37(1˚C for 24(2 hours. 

8.7   Confirmation of E. coli 
After incubation examine the MMGB tubes for the presence of acid. Acid production is denoted by the presence of any yellow coloration throughout the medium or change from the negative control. Confirm the presence of E. coli in all tubes showing acid production by subculture onto TBGA/TBX plates within 4 hours using a 10µl sterile loop 
, streaking with the objective to obtain single colonies. Subculture each MMGB control inoculated in 8.6 onto a TBGA/TBX plate. Incubate TBGA/TBX at 44(1˚C for 21(3 hours in stacks no more than six plates high 
 and separated from each other and the incubator walls by at least 25mm.
Note: TBGA/TBX plates can be divided into 5 segments, if plates have previously been dried, with each segment being inoculated from a single presumptive positive tube using a 1µl sterile loop. It is preferable to use separate plates for the individual dilution levels even if there are less than 5 tubes to subculture. 
After the incubation period examine the TBGA/TBX for the presence of blue or blue-green colonies. Record the results as positive for any shade of blue or blue-green colonies, negative for colonies of any other colour and no growth. 
8.8   Calculation of E. coli most probable number (MPN)
To calculate the MPN, record as negative all MMGB tubes that either do not produce acid after incubation or are negative (i.e. no blue or blue-green colonies) following subculture and incubation on TBGA/TBX plates. Record as positive MMGB tubes that produce acid after incubation and are positive (i.e. presence of blue or blue-green colonies) after subculture and incubation on TBGA/TBX plates. The total number of tubes at each dilution should equal the sum of tubes that are positive and negative at that dilution. This total should correspond to the value entered in Column 3 of the Shellfish MPN calculator 
. The number of positive tubes at each dilution is used to look up the corresponding MPN value in the tables given in Appendix 2 and is the value entered in Column 4 of the Shellfish MPN calculator. See Section 8.8.1 for the use of the Shellfish MPN calculator and Section 8.8.2 for use of the MPN tables.
Note: MPN tube combinations fall into one of three probability categories. 95% of observed tube combinations fall into category 1 with 4% and 1% in categories 2 and 3 respectively. Both the category and MPN result can be determined using the Shellfish MPN calculator and should be determined using the results obtained from all dilutions tested. Only values determined from combinations that give a category 1 or 2 profile should be recorded. Category 3 values should be recorded as ‘Void’. 
8.8.1 The Shellfish MPN calculator 
Attached to this generic protocol are three copies of the Shellfish MPN calculator. Two have been prepopulated with the 3 and 4 dilution factors respectively, volume in ml/g and No. of MMGB tubes inoculated. To calculate the MPN value, input all data obtained from each dilution examined into the Shellfish MPN calculator within this generic protocol as described below (See spreadsheets attached to this protocol). 
To use the Shellfish MPN calculator attached to this protocol; 
A. Select an excel spreadsheet attached by double clicking on the excel spreadsheet depending on the number of dilutions tested.  The Excel spreadsheet has previously been populated with the required information except the number of positive tubes.
B. Single click on the ‘Enable content’ button at the top of the spreadsheet.

C. Enter the number of positive tubes at each dilution in column 4. 
D. Press the ‘calculate results’ button in the top right of the spreadsheet or press ‘Ctrl + M’. The MPN value is calculated in column 8 as MPN per 100g.     
8.8.2 MPN tables (Appendix 3)

MPN tube combinations for 3 and 4 dilutions giving category 1 and 2 values only have been provided in Table 1 and 2 of Appendix 3 using the Excel calculator referred to above.  To calculate the MPN value, refer to the MPN table which contains the number of dilutions examined. 
-
For dilutions of neat, 10–1 and 10–2 use MPN table 1. 
-
For dilutions of neat, 10–1, 10–2 and 10–3 use MPN table 2. 

Note: The Excel spreadsheet MPN calculator documented in ISO 7218:2007/Amd1:2013 was used to generate the MPN tables provided in Appendix 3 (http://standards.iso.org/iso/7218/) and have been converted to MPN/100g.
8.9    Reporting results

Results should be reported as the MPN per 100g of flesh and intra-valvular liquid. Estimated MPN values given for tube combinations of 0, 0, 0 and 5, 5, 5 should be assigned values of <18 and >18 000 per 100g of flesh and intra-valvular liquid respectively (see note). Only values determined from combinations that give a category 1 or 2 profile should be reported. Category 3 values should be reported as ‘Void’. Negative samples should be reported as MPN < 18/100g.
Note: Estimated MPN values given for tube combinations of 0, 0, 0 and 5, 5, 5 included in ISO 7218:2007/Amd 1 2013 (both the Excel spreadsheet MPN calculator and Annex C (normative)) are given values of 0 and infinity respectively. At the 2014 annual workshop of NRLs for monitoring bacteriological and viral contamination of bivalve molluscs it was agreed that it was technically and scientifically justified in microbiology to report combinations of 0, 0, 0 and 5, 5, 5 as per the MPN tables in appendix 3. See NRL resolutions 2014 https://eurlcefas.org/public-documents/workshops-of-nrls/workshop-resolutions.aspx
9 Uncertainty of test results

Uncertainty inherent in any test method, i.e. instruments, media, analyst performance etc can be assessed by the repeatability and reproducibility of test results. These should be monitored through control tests analysed alongside sample tests, through in-house comparability testing between analysts and through external inter comparison exercises, which would highlight any uncertainties within the test methods.
The inclusion of the measurement of uncertainty (MU) or confidence limits (CL) for the result is not required but it is recommended that laboratories determine, as part of their quality procedure, the MU for the reported results and provide this information on request.

10 Quality control

Quality control systems offer a laboratory a mechanism to control preventable inaccuracies within a procedure. 
10.1 Internal Quality Assurance (IQA)

It is recommended that regular (e.g. monthly) monitoring using known levels of target organism are examined to ensure routine E. coli procedures continue to be efficient and effective. An example for assessing quantitative methods is the use of Lenticule TM discs.
10.2 Proficiency testing

Laboratories undertaking microbiological examination of Official Control samples of shellfish are expected to take part in a scheme to provide an independent assessment of a laboratories performance against other participants.  These schemes can help improve the performance of the laboratory. An example of this is the PHE/Cefas Shellfish EQA scheme (for further information contact foodeqa@phe.gov.uk).

11 References
Anon 2004 Regulation (EC) No 854/2004 of the European parliament and the council, 29 April 2004 laying down specific rules for the organisation of official controls on products of animal origin intended for human consumption. Off. J. Eur. Communities L 226, 25.6.04:83-127.
Anon 2005 Commission Regulation (EC) No 2073/2005 of the European parliament and the council, 15 November 2005 on microbiological criteria for foodstuffs. Off. J. Eur. Communities L338, 22.12.05:1-26.
Anon 2006. ISO/TS 19036:2006. Microbiology of food and animal feeding stuffs -- Guidelines for the estimation of measurement uncertainty for quantitative determinations. International Organization for Standardization: Geneva, Switzerland.
Anon 2007 ISO 7218:2007. Microbiology of food and animal feeding stuffs – general requirements and guidance for microbiological examinations. International Standards Organisation, Geneva.
Anon 2010. ISO 22117:2010. Microbiology of food and animal feeding stuffs – Specific requirements and guidance for proficiency testing by interlaboratory comparison.  International Organization for Standardization: Geneva, Switzerland.

Anon 2010. Commission Regulation (EC) No. 505/2010 of 14 June 2010 amending annex II to Regulation (EC) No 854/2004 of the European parliament and the Council laying down specific rules for the organisation of official controls on products of animal origin intended for human consumption. Off. J. Eur. Communities L 149, 15.06.10:1-2.
Anon 2013. ISO 7218:2007/Amd1:2013. Microbiology of food and animal feeding stuffs – General requirements and guidance for microbiological examinations - Amendment 1. International Standards Organisation, Geneva.
Anon 2014. EURL publication, Microbiological Monitoring of bivalve mollusc harvesting areas, guide to good practice: Technical application. Available to download from: https://eurlcefas.org/public-documents/official-control-guides.aspx 
Anon 2016. ISO 16649-3:2016. Microbiology of food chain - Horizontal method for the enumeration of β-glucuronidase-positive Escherichia coli Part 3: Detection and most probable number technique using 5-bromo-4-chloro-3-indolyl-β-D-glucuronide.  International Standards Organisation, Geneva.
Anon 2017. ISO 6887-3:2017. Microbiology of the food chain – Preparation of test samples, initial suspension and decimal dilutions for microbiological examination – Part 3: Specific rules for the preparation of fish and fishery products. International Standards Organisation, Geneva.
12 appendices

12.1 Appendix 1: Sub sample sizes of shellfish required for E. coli analysis
The following sub-sample sizes are recommended for inclusion in the homogenisation step:
	Name 
 

	Latin name 

	Sample size 


	Saint James Scallop
	Pecten jacobaeus
	10 - 12

	King scallops
	Pecten maximus
	10 - 12

	Razor clams
	Ensis spp.
	10 - 12

	Soft shell clams (Sand Gapers)
	Mya arenaria
	10 - 12

	Northern horse mussels
	Modiolus
	10 - 12

	Abalone
	Haliotis spp
	10 - 12

	Whelks
	Buccinum undatum
	10 - 15

	Variegated scallop
	Chlampys varia
	10 - 18

	Oysters
	Crassostrea gigas and Ostrea edulis
	10 - 18

	Noah's Ark shells
	Arca noae
	10 - 25

	Mediterranean mussels
	Mytilus galloprovincialis
	10 - 30

	Smooth clams
	Callista chione
	10 - 30

	Purple or green Sea urchins – Adults (juvenile)
	Paracentrotus lividus
	10 – 30 (40 – 80)

	Hard clams
	Mercenaria
	12 - 18 

	Dog winkles
	Thais haemastoma
	15 - 25

	Ark clams
	Barbatia barbata
	15 - 25

	Bearded horse mussels
	Modiolus barbatus
	15 - 30

	Queen scallops
	Aequipecten opercularis or Chlamys opercularis
	15 - 30

	Warty venus clams
	Venus verrusosa
	15 - 30

	Mussels
	Mytilus spp.
	15 - 30

	Manila clams
	Tapes philippinarum
	18 - 35

	Palourdes (Grooved carpet shell clams)
	Tapes decussatus (Venerupis decussata)
	18 - 35

	Rayed artemis
	Dosinia exoleta
	18 - 35

	Clam
	Venerupis rhomboides  
	20 - 25

	Pullet carpet shell
	Venerupis senegalensis
	20 - 25

	Cockles
	Cerastoderma edule
	30 - 50

	Turbinate monodont 
	Phorcus turbinatus
	30 - 50

	Atlantic surf clams (Thick trough shells)
	Spisula solida
	30 - 50

	Periwinkles
	Littorina littorea
	30 - 50

	Bean clams
	Donax spp.
	30 - 50

	Wedge shell clams
	Donax trunculus
	40 - 80

	Striped venus clams
	Chamelea gallina
	40 - 80

	Cut trough shells
	Spisula subtruncata
	70 - 90


12.2 Appendix 2: E. coli Most Probable Number tables (MPN)
12.2.1 Table 1: Most probable number of organisms: table for multiple tube methods using 5 ( 1g, 5 ( 0.1g, 5 ( 0.01g.

	1g
	0.1g
	0.01g
	MPN/100g
	Category

	0
	0
	0
	<18 

	1

	0
	1
	0
	18
	1

	1
	0
	0
	20
	1

	1
	0
	1
	40
	2

	1
	1
	0
	40
	1

	1
	2
	0
	61
	2

	2
	0
	0
	45
	1

	2
	0
	1
	68
	2

	2
	1
	0
	68
	1

	2
	1
	1
	92
	2

	2
	2
	0
	93
	1

	3
	0
	0
	78
	1

	3
	0
	1
	110
	1

	3
	1
	0
	110
	1

	3
	1
	1
	140
	2

	3
	2
	0
	140
	1

	3
	2
	1
	170
	2

	3
	3
	0
	170
	2

	4
	0
	0
	130
	1

	4
	0
	1
	170
	1

	4
	1
	0
	170
	1

	4
	1
	1
	210
	1

	4
	2
	0
	220
	1

	5
	0
	0
	230
	1

	4
	2
	1
	260
	2

	4
	3
	0
	270
	1

	4
	4
	0
	340
	2

	5
	0
	1
	310
	1

	5
	1
	0
	330
	1

	5
	1
	1
	460
	1

	5
	1
	2
	630
	2

	5
	2
	0
	490
	1

	5
	2
	1
	700
	1

	5
	2
	2
	940
	1

	5
	3
	0
	790
	1

	5
	3
	1
	1100
	1

	5
	3
	2
	1400
	1

	5
	3
	3
	1700 

	2

	5
	4
	0
	1300
	1

	5
	4
	1
	1700
	1

	5
	4
	2
	2200
	1

	5
	4
	3
	2800
	1

	5
	4
	4
	3500
	2

	5
	5
	0
	2400
	1

	5
	5
	1
	3500
	1

	5
	5
	2
	5400
	1

	5
	5
	3
	9200
	1

	5
	5
	4
	16000
	1

	5
	5
	5
	>18000 

	1

	
	
	
	
	


	1g
	0.1g
	0.01g
	0.001g
	MPN/100g
	Category

	0
	0
	0
	0
	<18 

	1

	0
	1
	0
	0
	18
	1

	1
	0
	0
	0
	20
	1

	1
	0
	1
	0
	40
	2

	1
	1
	0
	0
	40
	1

	1
	2
	0
	0
	61
	2

	2
	0
	0
	0
	45
	1

	2
	0
	1
	0
	68
	2

	2
	1
	0
	0
	68
	1

	2
	1
	1
	0
	92
	2

	2
	2
	0
	0
	93
	1

	3
	0
	0
	0
	78
	1

	3
	0
	1
	0
	110
	1

	3
	1
	0
	0
	110
	1

	3
	1
	1
	0
	140
	2

	3
	2
	0
	0
	140
	1

	3
	2
	1
	0
	170
	2

	3
	3
	0
	0
	170
	2

	4
	0
	0
	0
	130
	1

	4
	0
	1
	0
	170
	1

	4
	1
	0
	0
	170
	1

	4
	1
	1
	0
	210
	1

	4
	2
	0
	0
	220
	1

	5
	0
	0
	0
	230
	1

	4
	2
	1
	0
	260
	2

	4
	3
	0
	0
	270
	1

	4
	4
	0
	0
	330
	2

	5
	0
	1
	0
	310
	1

	5
	1
	0
	0
	330
	1

	5
	1
	0
	1
	450
	2

	5
	1
	1
	0
	450
	1

	5
	1
	2
	0
	620
	2

	5
	2
	0
	0
	490
	1

	5
	2
	0
	1
	690
	2

	5
	2
	1
	0
	690
	1

	5
	2
	1
	1
	920
	2

	5
	2
	2
	0
	930
	1

	5
	3
	0
	0
	780
	1

	5
	3
	0
	1
	1100
	1

	5
	3
	1
	0
	1100
	1

	5
	3
	1
	1
	1400
	2

	5
	3
	2
	0
	1400
	1

	5
	3
	2
	1
	1700
	2

	5
	3
	3
	0
	1700
	2

	5
	4
	0
	0
	1300
	1

	5
	4
	0
	1
	1700
	1

	5
	4
	1
	0
	1700
	1

	5
	4
	1
	1
	2100
	1

	5
	4
	2
	0
	2200
	1

	5
	4
	2
	1
	2600
	2

	5
	4
	3
	0
	2700
	1

	5
	4
	4
	0
	3400
	2

	5
	5
	0
	0
	2300
	1


12.2.2 Table 2: Most probable number of organisms: table for multiple tube methods using 5 ( 1g, 5 ( 0.1g, 5 ( 0.01g, 5 ( 0.001 g.
Table 2 continued: Most probable number of organisms: table for multiple tube methods using 5 ( 1g, 5 ( 0.1g, 5 ( 0.01g, 5 ( 0.001 g.
	1g
	0.1g
	0.01g
	0.001g
	MPN/100g
	Category

	5
	5
	0
	1
	3100
	1

	5
	5
	1
	0
	3300
	1

	5
	5
	1
	1
	4600
	1

	5
	5
	1
	2
	6300
	2

	5
	5
	2
	0
	4900
	1

	5
	5
	2
	1
	7000
	1

	5
	5
	2
	2
	9400
	1

	5
	5
	3
	0
	7900
	1

	5
	5
	3
	1
	11000
	1

	5
	5
	3
	2
	14000
	1

	5
	5
	3
	3
	17000
	2

	5
	5
	4
	0
	13000
	1

	5
	5
	4
	1
	17000
	1

	5
	5
	4
	2
	22000
	1

	5
	5
	4
	3
	28000
	1

	5
	5
	4
	4
	35000
	2

	5
	5
	5
	0
	24000
	1

	5
	5
	5
	1
	35000
	1

	5
	5
	5
	2
	54000
	1

	5
	5
	5
	3
	92000
	1

	5
	5
	5
	4
	160000
	1

	5
	5
	5
	5
	>180000 

	1


12.3 Appendix 3: Application and use of the MPN calculator 
12.3.1 Calculating the MPN value using 3 dilutions 

1. Open the link http://standards.iso.org/iso/7218/ (ISO 7218 – Amendment 1, section 10.5.6.3). 
2. The ISO Standard Maintenance portal screen will appear.  Click once the underlined name ‘MPN calculator Excel programme ver5’.
[image: image1.png]H - = Issue_14_EURL_Generic_SOP_E coli_draft [Compatibility Mode] - Word Louise Stockley (Cefas) @~ — O
- N httpy/standards.iso.0rg/iso/7218/ 1SO Standards Maintenance. N o
= = File [QCCUCH insert Design Layout References  Mailings  Review  View  Q Tell me whatyou want to do S Share 3 % Share
- ;-l‘”! o 7 <“NRL-NRL G Google [EJ 15O - Intemational Organi... Il Lovisesstockley@cefasco... & Public Health England Pr.. i
. - ind -
Calibri -0 -|A A Aa- B iz 2L T uassccp AABBCC A
/8 aBbhCc AaBbCcl o |
Pt - cReplace O Standards Maintenance Portal
ste . - Sl . . . .
€ ¢ B T U -abex: X H Caption T Heading 1 1 Heading 2 THeading 3 || [\ sefect~ o 1218
_ _ Clipboard fi Font n Paragraph n Styles R Ediing ~ Type Name Size
O O 20, EURL N R CFERRE IR IRREINREIRY SRRRZNEE TRRT ERRI U RIIRRI IR CIRRIURRICIRREC = o L) MPN calculation Excel programm_ver5 xis 284KB
% o irsdamic ..
12.2 Appendix 3: Appll n and use of the MPN calculator
. 12.2.1 Calculating the MPN value using 3 dilutions
E - 1. Open the link http://standards.iso.org/iso/7218/ (ISO 7218 — Amendment 1, section 10.5.6.3).
AN paviaw o b
[CT]) - 2. The ISO Standard Maintenance portal screen will appear. Click once the underlined name ‘MPN calculator
- Excel programme vers’.
- 3. On clicking the ‘MPN calculator’ link, an MPN calculator program excel spreadsheet will open. Click on the _
- “Enable Content’ button at the top of the spreadsheet to enable all macros. NALEOR  OI6, pslits
H vl ifen P
o ) SECURTY WARNING Macros hve b bl
- ) - 5
| < A . c e
<~Cefas N 1 MPN calculation program, version 4 dated 2015-04-14
- 2| Ths Excel programis e sobware. s disbated i th hape tht i il bs usef, Fordutas see: 8. Jans, .\
it sy 0, Vilie-esans ] T vatosonywarany For sssisance, contactwichéouiass s e Pleseenot hat an
@ 4. Fill in cells €20 to €23 (shaded in yellow) as described below. Once cells C20 to €23 are filled in press the
- return button. The required number of data boxes will automatically appear below (one for each test series
E El specified in C22).
~Cefas - -
X a « “Name of experiment’ — The name given for the work performed.
wsifers fiidh) o, Capasy gl !uunj - + ‘Date of experiment’ — The date the work was carried out.
Siedday| - * “Total no. of test series / matrices’ — The value recorded will determine how many sets of sample tables
el will be generated automatically. A total of 18 samples can be inputted into the spreadsheet at one time.
- « “Maximum no. of dilutions’ — The value recorded is based on the number of dilutions examined. E.g. For
i the example given below 5 dilutions were examined (N, 10, 107, 10 and 10%).
k4 20| Name of experiment: 1 Number of
. 21__Date of experiment.
samples
It} 22 Total no. of test series/matrices (up to 18): tested
- 23 Maximum no_of dlutions (up to 50)
24
7 ] % Number of
- 26| Name of test series/matrix = sample reference: lutions.
Page 13 0f 18 5906 words ] B - - I +

13:05 o 3:05
10/03/2017 10/03/2017




3. On clicking the ‘MPN calculator’ link, an MPN calculator program excel spreadsheet will open. Click on the ‘Enable Content’ button at the top of the spreadsheet to enable all macros.


[image: image2.png]R nttp//standarasiso.org/iso/7218/ £ ~ & 150 standards Maintenance.

“NRL-NRL G Google ] 150 - Intemational Organi... M| Louisestockiey@cefasco... & Public Health England Pr...

MPN calculation Excel programm_ver5 [Compatibility Mode] - Excel
Insert  Pagelayout Formulas Data Review View  Q Tell me what you want to do
?D & cut Arial BT Wrap Text | ! p
| D Insert Delete Format
| Paste Merge & Cente . a nsert Delete Forma
B0, ;:m\ - < Format Painter S N . & Clear~
Clipboard n Font Alignment Number Styles Cells Editing
' SECURITY WARNING Some active content has been disabled. Click for more details. | Enable Content
— R7C1 M Je
W e
| 1 2 3 4 5.6 7 8 9 10 1 12 13 14
i MPN calculation program, version 5, dated 2017-01-09, for calculating most probable numbers, their standard deviations, confidence bounds and rarity values. _
2 More information can be found in the following sheets ‘Equations & Info' and 'Examples’. For details see: B. Jarvis, C. Wilrich and P.-T. Wilrich, Journal of Applied Microbiology 109, 2010, 1660-1667. Print Tables color |
3 This Excel program is distributed in the hope that it will be useful, but without any warranty. It can be downloaded at: www.wiwiss.fu-berlin.de/fachbereich/wi/iso/ehemalige/wilrich/index.html. _
There you have also the possibility to subscribe to a newsletter informing about updates of the program. For assistance contact: wilrich@wiwiss.fu-beriin.de. Print Tables b/w
4
5 General data and data for generating the input tables How to use this program (Macros have to be enabled):
- - - . 1. Enter the no. of test series (up to 30) and the max. no. of dilutions (up to 30) per test series into the yellow table.
el 6 Name of experiment Date of experiment No. of test series Max. no. of dilutions » The tables for your input data will be generated automatically below.
it fiid] 7 2. Enter your datainto the yellow cells of the input tables generated according to step 1
3. Press 'Ctri+m'to start the calculation or use the button 'Calculate Results'”
8| Note: Atest series / matrix consists of the different dilutions for one target organism / test medium. P The results will be shown below in a green table (with two signifcant decimals in columns 8 to 12).
9 4. You can change the no. of test series or dilutions in row 7 at any time (and preserve data you entered before).
5. You can also change the data in the input tables at any time.
~cotd 10 » Changes of the input data cause the restits table to be deleted but you can re-calculate as per step 3 at any time.
i " 6. You can print the tables (with a dynamically adjusted print area) using the buttons 'Print Tables'
k]
« ‘Date of experiment’ — The date the work was carried out.

« “Total no. of test series / matrices’ — The value recorded will determine how many sets of sample tables
will be generated automatically. A total of 18 samples can be inputted into the spreadsheet at one time.

« “Maximum no. of dilutions’  The value recorded is based on the number of dilutions examined. E.g. For
the example given below 5 dilutions were examined (N, 10, 102, 10° and 10%)

151

16

20 Name of experment Vo[ Number of

24 Tiata of avnarimant

Page 13 of 18 5906 words. [nc} =

13:09

1 dx

10/03/2017

allziso /7218
Type Name size
) MPN calculation Excel programm_ver5 xis 284KB

3:09
10/03/2017




4. Enter the number of test series and dilutions in the relevant cells. Once the cells are filled, the required number of data boxes will automatically appear below (one for each test series specified). 
· ‘Name of experiment’ – The name given for the work performed. 

· ‘Date of experiment’ – The date the work was carried out.

· ‘No. of test series’ – The value recorded will determine how many sets of sample tables will be generated automatically.  A total of 30 samples can be inputted into the spreadsheet at one time.  

· ‘Max. no. of dilutions’ – The value recorded is based on the number of dilutions examined. E.g. For the example given below 3 dilutions were examined (N, 10-1  and 10-2).


[image: image3.png]e_14_EUR

MPN calculation Excel programm_verS (4) [Compatibility Mode] - Excel Louise Stockley (Cefas) [

Home (LSS References Review  View

Design  Layout Mailings

159 110 72ike
2R, EC OFind ~ Insert  Pagelayout Formulas Data  Re Vi Q Tell me what t to d
. a2 | Aae A ge Layc s Data Review View  Q Tell me whatyou want to do
(Calir 10_[NAA & T samceoa AABBCC AaBbCc AaBbCel | 1o
s cut
Paste B I U~abex X Dy~ - T Caption THeading 1 THeading 2 THeading 3 N . ? % Arial ML n p
Sl - Select all| B Copy - Fill -
Clipboard & Font n Paragraph n Styles R Ediing ~ T " ¢ bormat painter Merge & Center - o) ez PR - S"T"?‘
- g~ Table - - elect -
L E R N P RE SURE PRRY CURE PURE SRS SRR RRRE RRRE HRE t ORI RE RSP SRS ARET et AN O X 2
fa) Clipboard & Font Alignment Number Styles cells Editing ~
~ “Enable Content’ button at the top of the spreadsheet to enable all macros.
- R13C3 - v
© ) SECURITY WARNING ‘Some active contenthas been disabed. Cick for more detas. | “Enable Content
: 1 2 s a sis 7 i s 10 1 12 5 1 15 1 1 15 1 20 2 22
R7C1 - f
@ 1 MPN calculation program, version 5, dated 2017-01-09, for calculating most probable numbers, their standard deviations, confidence bounds and rarity values, _Calculate Results |
- 2 2 4 2.6 2. Wore inormation can b found n e following shests Equatons & nf'and Examples' For detalls see: B.Jans, . Wiich and P T.Wirich, Joumal of Appled Microbology 109, 2010, 1860-1667. g Taies color |
S 1 i 5| This Excel program s distributed n the hope that it will be useful, but without any warranty. It can be downloaded at wiw wiwiss.fu-berlin, GeffachbbereichAwlisolehemalige/wilichindex himl
B . MPN calculation program, version 5, dated 2017-01-09, for calculating most probable numbers There you have also the possibilyto subscibe o a newsletir informing about updates ofthe program. For assistance contact: wiich@wiiss fu-berin.de. PrintTables biw
.
2 4. Enter the number of test series and dilutions in the relevant cells. Once the cells are filled, the required S General data and data for generating the input tables How to use this program (acros have to be enabled)
number of data boxes will automatically appear below (one for each test series specified). « Wame of experiment | Date of experiment | o of st series | Max no ofdisions | ™+ ENlr et st eres (up1o 30 anche s . ofciuions 4 0 30 erest e o the yelow bl
] - The tables or your input daa will be geerated automatically below
p . 2. Erter your data nla the yellow cells of the inpLt ables gererated according to step 1
- * ‘Name of experiment’ — The name given for the work performed. ML EOA OO sl Z 3. Press Cirlam to start the calculation or use the button Calculate Results”.
o « “Date of experiment’ — The date the work was carried out. i T 5| Jote: Atestseries / matrix consists of the difierent iluions for one target organism /test medium. > The resuilts will be shown below n a green table (it two sigrifcant desimals in colurns 8o 12)
B + “Total no. of test series / matrices' ~ The value recorded will determine how many sets of sample tables o 4. ou can change the o, of test series o ciLtons i 1o 7 atany e (and preserve data you ertered before).
B willbe generated automatically. Atotsl of 18 samples can be inputted into the spreadsheet at one time. 1o Nt Tow Biion Facterd = e cito i e For e i e e o o, 10 5 Youcandsochunge e cile niheinpu BHes s ary e s o el st s e s 3t e
-  “Maximum no. of dilutions’ — The value recorded is based on the number of dilutions examined. E.g. For {undiuted). 6. You can print the tables (with a dynamically adjusted print ares) using the buitons Print Tables'.
B " 11 01(diutedt 1in 10) ele._The volume v is the valume of th diltin ackded to each tube in that row,
the example given below 5 dilutions were examined (N, 107, 10%, 10°% and 10%),
4 @ Input data
N 20[_Name of experiment: 1 Number of 13| Testseries 1 / Matrix 1 - Designation:
g 21 _Date of experiment. samples 14| Target organism / Test medium:
- 22| Total no. of test series/matrices (up to 16} tested 15| Dilution factor Volume in ml or g No. of tubes. No. of positive tubes
5 23_Maximum no_of diluions (up to 50) i 4 w n ,
B 2
- 25 _No_oftest seres/matrix 7 Number of 17
A Cafa] =15 26_Name of test series/matrix = sample reference. dilutions 18
sl fildh €l ey palis N 27 _Test medium or target organism: examined 19
Siodday| & 28] Ditonfacir™_ [ Volume T org ™ | No.oftubes [N, ofposi s o
- w n X 21| Testseries 2 / Matrix2 - Designation:
2 g:‘ 22| Target organism / Test medium:
- 2 Dilution factor Volume in mi or g No. of positive tubes
b 3 d x
B 34 o_of test series/matrix 7 |
& 35 _Name of test series/matrix = sample reference’
o 36 |_Test medium or target organism:
- 37| Diutonfactor* | Volumemnmiorg™ |  No. oftubes |No. of positive tubes|
8 38 d w n x 28
- 39 2
s I
Page 13 of 18 5897 words

1403

14:03
- 10/03/2017 t 10/03/2017




5.  Populate the data table as follows: 
· Column 1 - Insert the homogenate concentration used to inoculate each row of MMGB tubes.

· Column 2 - Insert the volume of inoculum added.

· Column 3 – Insert the number of MMGB tubes inoculated at each dilution. (For the E. coli generic protocol 5 tubes are inoculated for each dilution). 

· Column 4 – Insert the number of positive tubes on TBGA/TBX at each dilution. 
[image: image4.png]H - 14§ t [Comy t Word  picture Tools Louise Stockle:
= =S File  Home Insert Design layout References  Mailings  Review  View Q Tell me what you want to do DI eTEEn EE pregammeEs () iy - Ee) (o Seeisy(@eks)  [ed
P20, LU Brightness - J<] Compress Pictures D at B = ¢ [ Align- tlHeight o2 em 9 — Insert  Pagelayout Formulas Data Review View  Q Tell me whatyou want to do
(D Contrast~ 1 Reset Picture 0%0, Senc Group * = Table Delete ~ X cut
= Shadow Position Wrap N Crop S with: [1538cm * - W w
Recolor - e , - Text- Dk SelectionPane  ARotate~ - (&1 Format - all| o iy copy - 3 oy
ste Merge & Cent - nsert Delete Format
Adjust Shadow Effects Border Arrange size ® A Lles Cells Editing ~ WA " & Format Painter B IU A Merge & Center N B .
201 FRNRE TURE TR SURE TURY TERE RURE PRRY RURTCINREORE: SR C IR RET SRRTCRRRE L Wi (o
L Z - e Clipboard ~ Font Alignment Number Styles Cells Editing ~
T v
" 14 |_Target organism / Test medium: . sl = S . £ || Ecol .
15| Dilution factor Volume in ml or g
© = d = 1 2 s 4 sie 7 s E] 10 1n 1 5 1 15 1 1 15 1 20 2 22
- 17 1, dated 2017-01-25, for calculating m 1 MPN calculation program, version 5, dated 2017-01-09, for calculating most probable numbers, their standard deviations, confidence bounds and rarity values, _Calculate Results |
| . i : i 2| Wore information can be found inthe following sheets Equations & Info’ and Examples. For detalls see: B. Janvis, C. Wilfch and P.-T. Wilich, Journal of Applied Microbiology 109, 2010, 1660-1667.
- 18 xamples'. For details see: B. Jarvis T
e 5| This Excel program s distributed n the hope that it will be useful, but without any warranty. It can be downloaded at wiw wiwiss.fu-berlin, GeffachbbereichAwlisolehemalige/wilichindex himl
® 19 There you have also the possibilly to subscribe to a newsleter informing about updales ofhe program. For assistance contact wilich@uiwiss fu-beriin.de printTables b
4
- 20 tables 5 S
B 21[ Testseries 2 / Matix2 - Designation: | Example2 | Hoy s e How to use this program (Macros have to be enabled)
: 32| Targe rgaism 1 Tost mdium Max. no. of diluions t9 6 e e | Ot e | o st seres | Mo o i | 1+ ST % ol 3 e o s o et sl
El B 2. Enter your data it the yellow cels of the inputtables generated sccarding o sep 1
- 23 Dilution factor Volume in ml or g No. of tubes No. of positive tubes 2. E 3. Press ‘Cirl+m' to start the calculation or use the buton 'Calculate Results'
: 2 d W n x 3. P £ ot Atest seies/matixconsist o e iferentiions orone target organism st medium. - Th et wil beshown blow n o geen bl (v o sgnfoartcirdeincaunrss o,
4 out 2an change the o, of teat seres ar dlltions in row 7 at any time (and preserve data you entered before
25 hia coli ) with bivalve shelffish > 2 5. Youcan also change the data n the input tables a any tims.
- analysed 4 v 10| flot Theciuon faclor d i thedilon raloused forineudaling the tubes of thl o . 10 > Changes of the inpu data cause the results table 1o e deleted bt you can e-calculate as per step 3 at any ime.
& 2 b | e 1.e. Tre volumenw isihe volums o th diton adcd o ssch bein thatrow 6. You can print the tables (with » cyramically acsted prnk aea) using the butans Print Tables'
M B 27 3
FCafay - (undiluted), > 12 rnicEs
cestias i 0, Wil B Test series 1 / Matrix 1_-_ Designation
- row. 6. Y¢ 13 ign:
B 25| No_of test series/matrix i N e R
- 26_Name of test series/matrix = sample reference: Dilution factor Volume inml or g No. of positive tubes
- 27 Test medium or target organism: d x
= 28] Diution factor* | Volume n miorg ™ No. of tubes | No. of positive tubes
~Cofas, = : ;: d w n «
el i o, G it Lowiss 3
Sidy| - = of confirmed positives (e.q. TBX)
- 33 x 21 Testseries 2 / Matrix2 - Designation
: 34 [_No_of test series/matrix 22| Targel organism / Test medium:
= Hame oftest :’::fg’:“i:;;:;’""‘“ reference Dildtion factor | Volume in mlor g No. of positive tubes
s ‘Dilution factor * Volume in mi or g * g X
z d |
B 2
a 2 20
- Homogenate Volumeof | [ numberofmmes | [ Numberof positve | B N o
Page 14 of 19 5892 words B B - 1 + 90% A

p 14:19
- 10/03/2017 t 10/03/2017





6. Press ‘Ctrl M’ or press Calculate results (green button).  The MPN value (MPN/g) will be calculated in column 8 and the category in column 14. 
[image: image5.png]e_14_EUR

MPN calculation Excel programm_verS (4) [Compatibility Mode] - Excel Louise Stockley (Cefas) [

& share  [J | me what you want to do

[CUSM insert  Design  Llayout References  Mailings  Review  View

L4 O 7208
T, 00 . OFind - Insert  Pagelayout Formulas Data  Review View  Q Tell me what you want to do
Calibri o A A A A 8L | samscepar -
AABBC( AaBbCc AaBbCel | o o e . S
Paste . . & |y T T T o ? Arial -l | p
S ¢ B I U -amx X D - Caption 1Heading 1 THeading 2 1Heading 3 N Select~ i Format~ al 00 B Copy - -
Paste Iu A — - Conditional Format Insert Delete Format Find &
_ Clipboard s Font ~ Paragraph ~ Styles 5 Edting A bies cells Editing ~ T " ¢ ot Painter e e sert. belete Form Clear~ Sotoet
510) FOIE, 2. L 2000100 1002003004005 10617 128 129110 11101120 113 1 140 1 15 1 1640 470 1 181 -
. Clipboard ~ Font Alignment Number Styles cells Editing ~
2 26
- b a 56 I R7C1 - v
- Homogenate Volume of Number of MMGE Number of 1 2 s 4 sie 7 s E] 10 1n 1 ] 1 15 1 u 1 1 20 2 2.
inoculum added E i
@ I:‘;’;il"(‘::;‘a‘:f:b‘; tubes inoculated ""”T‘é‘g:}‘r";; on 1, dated 2017-01-25, for calculating m 1 MPN calculation program, version 5, dated 2017-01-09, for calculating most probable numbers, their standard deviations, confidence bounds and rarity values.  Calculate Resuts |
B d ‘Examples’. For details see: B. Jarvis 2. Wore nformation can b foundin e alowing shests EQustons & nf and EXamples.For Gatals ;8. Jas,C. Wi and T, Winch, Joumal o APl MIcroviology 109 2010, 1550-1567. e rabls aolr |
B 5| This Excelprogram i distributed in the hope that twill b2 useful, but without any warranty. ft can be downloaded at i wiwiss f-berin deflachbereichwilisolehemaligelwiiichiindex bl _printTables color |
k ‘ o s (reen button. T e (M) wil b clctad There you have also the possibilty o subscibe fo a newsleter informing about updates ofthe program. For assistance contact wilich @uiwiss fu-berin.de printTables biw
B 6. Press ‘Ctrl M o press Calculate results (green button). The MPN value (MPN/g) will be calculated in b1 s
les —
2 column 8 and the category in column 14. :10 . General data and data for generating the input tables How to use this program (acros have o be enablec)
B o . E 1. Erterthe .o testseies (up o 30) an the max. 10, ofditons (up o 30) per st seies it the pelow table.
- Max. no. of dilutions » AEsmloiexpenoeotl B slofepetimcal I Hoobtestiomm-J IRE-Tpot Habn:d > Th tables for your rput data il be genersted autcrnatcally below.
2 5 2. Erteryour catairto the yellow cll o the inputtables generaed sccording o step 1
z 2. E 3. Press ‘Cirl+m' to start the calculation or use the buton 'Calculate Results'
IS 3. P B Note: Atest series / matrix consists of the different dilutions for one target organism  test medium. > The resuils will be shown below in a green table (vith two sigrifcant decimals in columns Bto 12),
5 . o 4. You can change the o, of tes sriesor ditions i row 7ot sy e (s preserve e you ertered befor).
- ia coli) with bivalve shelfiish > 5. You can also change the data in the input tables at any time,
Note: The iuion Factord 1 he dition ao used Forinocul ating the tbes of rat row, 1. 10
B MPN/g Category number analysed 4. v 10| otz The > Changes of e npu dota cause e resuts table o b deleted b ot con re-caculale 2 e step 3t any e
“ b ] ). we. The volimen is he sl of he don sl 0 sch e n it 6. You can print the tables with chnarically acuste prin sres] sing the buttos Prirt Tables'
B (undiuted), N Input data Results of the MPN calculations
Tost series 1 / Matrix 1_-_Designati Tost series / Matn 55% confidence fmits
< 7. Check the category of each sample tested and accept only MPN results that give a category 1 or category 2 row. 6. Y Tes series : TX . signation: est series. x SD ice limi Rarity
g profile. Reject all MPN results that fall within a category 3. ot Toerpam B RL e Hine i Lz HE
z Dildtion factor | Volume in mlor g No. of positve tubes | [ 1| Example 1
4 + For example 1- the MPN/100g can be used. d x 2 Exampie2
B « For example 2 - the result is rejected and reported as a ‘Void' result. A repeat sample must be requested. Note: An HPN thatfals info category 3 unreliable and should not e used. The respeciie rows are marked n biue.
~Cofas =| L
wsifers fiidh) €, Capasy gails oM Name of
Sindday | test series of confirmed positives (e.q. TBX)
° X 21 Testseries 2 / Matix2 - Designation.
5 22| Target organism / Test medum:
- 8. The MPN calculator calculates the MPN per gram (MPN/g). E. colf results are reported as MPN per 100g D"“"";m"" AL LG (G TS
Q (MPN/100g). Multiply the value given in column H by 100 to give the results in MPN/100g.
- |
o Cefas protocol - Enumeration 4 /e molluscan shelfish by the most probable number technique Page 14018 o
: - 29
< y 0 - :
Page 14 of 18 5898 words 0% B B - 1 + 90% + ¢

1426
- 10/03/2017 t 10/03/2017




7. Check the category of each sample tested and accept only MPN results that give a category 1 or category 2 profile.  Reject all MPN results that fall within a category 3.  

· For example 1 - the MPN/100g can be used.

· For example 2 - the result is rejected and reported as a ‘Void’ result.  A repeat sample must be requested.

8. The MPN calculator calculates the MPN per gram (MPN/g).  E. coli results are reported as MPN per 100g (MPN/100g).  Multiply the value given in column 8 by 100 to give the results in MPN/100g.

For the examples given above

· For example 1 - 22 x 100 = 2 200 MPN /100g.

· For example 1 - A repeat sample would need to be requested as it has a category number of 3.

9. For samples that give a tube combination of 0, 0, 0 or 5, 5, 5 the MPN calculator will calculate a value of 0 and infinity respectively (see below).  An estimated MPN value given for these tube combinations of 0, 0, 0 and 5, 5, 5 should be assigned values of <18 and >18 000 per 100g.

[image: image6.png]e_14_EUR

LECH Insert  Design  layout  References  Mailings  Review  View [ | me what you want to do MPN calculation Excel programm_ver>5 (4) [Compatibility Mode] - Excel Louise Stockley (Cefas)  [H
159 110 72ike
2R, EC N OFind ~ Insert  Pagelayout Formulas Data Review View  Q Tell me what you want to do
z 4asbccDar AABBC( AaBbCc AaBbCel o oo - %
e able te ~ cut
besiz -1 - | TcCaption THeading 1 THeading2 T Heading 3 e ? Arial il n p
R L P 9 9 9 [y Select - &1 Format - atl U By copy - Fill -
Paste . . Conditional Format Insert Delete Format Find &
_ Clipboard [ Font ® Paragraph ® Styles 5| Ediing A Lles Cells Editing ~ Ty & Format Painter Iy A t et Clear -
= - g~ Table - - Select~
50, 5O Zih T PR Lo 21 gt A5t 6718191011120 1131140 1 -15. 1 1640 E7 A8
. clipboard n Font Alignment Number Styles cells Editing -~
_ 1 AL L w1 iy LUUK Lt U use.
N o For example 2 - the result is rejected and reported as a ‘Void’ result. A repeat sample must be requested.
8 o sle | [~ R7C1 - v
- 8. The MPN calculator calculates the MPN per gram (MPN/g). E. coli results are reported as MPN per 100g
] (MPN/100g). Multiply the value given in column H by 100 to give the results in MPN/100g. . = 2 2 = 56 z = = 10 n 2 = 1 = 1 1 18 = 0 2 2
Z 1, dated 2017-01-25, for calculating m 1 N  Caloulate Resaults |
MPN calculation program, version 5, dated 2017-01-09, for calculating most probable numbers, their standard deviations, confidence bounds and rariy values
3 For the examples given above d 'Examples’. For details see: B. Jarvis 2. Wore inormation can b found n e following shests Equatons & nf'and Examples' For detalls see: B.Jans, . Wiich and P T.Wirich, Joumal of Appled Microbology 109, 2010, 1860-1667. g Taies color |
B 5| This Excel program s distributed n the hope that it will be useful, but without any warranty. It can be downloaded at wiw wiwiss.fu-berlin, GeffachbbereichAwlisolehemalige/wilichindex himl
« For example 1-22 x100=2.2 x 10° MPN /100g. There you have also the possibilty o Subscribe to a newsletter informing about updates of the program. For assistance contact wiich@wiwiss.fu-berlin.de. PrintTables biw
g 4
o For example 1 - A repeat sample would need to be requested as it has a category number of 3. tables - -
: iy (crh) :"" S General data and data for generating the input tables How to use this program (acros have o b enapled)
g 9 - . E 1. Enterthe no.oftest seres (up o 30) andithe max. no.of dilions (up o 30)per et seres o the yellow table.
- Max. no. of dilutions o 6 MName of experiment | Date of experiment | No.of test series | Max. no. of dilutions > The tables for your inpLt data will be gererated atomalically below.
Cefas protocol - Enumeration of E. i in bivalve molluscan shellfish by the most probable number technique Page 14018 B 2. Erter your data nla the yellow cells of the inpLt ables gererated according to step 1
N 2. E 3. Press 'Cirl+m' to start the calculation or use the bution ‘Caleulate Flesults'
z 3. P B | Note: Atestseries /matrx consists of the difierent dilutions for one target organism / test medium. > The resuils will be shown below in a green table (vith two sigrifcant decimals in columns Bto 12),
- s 4. You san change the . of test series a cilions i fow 7t an fime (and preserve data you entered before],
hia coli) with bivalve shelffish > 5. You can also change the data in the input tables at any time.
analysed 4. v 10| ploter T ciution fectr d s the diluton et used for inosulaling the tubes cfthatron. e 10 ' Changes of the input data cause the result table 1 be defeled but you can re-calculate as per step 3 at any tir.
P 12 T 110, e, The velumew is the velume o the diuon acked o cach isein tharom. 6. You can print the tables (with a dyramicaly adiusted prirk area) using the butions Print Tables'
Issue 14: 03,0347 (undiluted), » Input data Results of the MPN calculations
ow. 6. Y Test series 1 / Matrix 1_-_Designation Test series / Matrix SD | 95% confidence limits | Rarty
9. For samples that give a tube combination of 0, 0, 0, or 5, 5, 5, the MPN calculator will calculate a value of 0 el No|  Designation
and infinity respectively (see below). An estimated MPN value given for these tube combinations of 0, 0, 0,
[ Example 1
0and s, 5, 5, should be assigned values of <18 and >18,000 per 100g. Diltion factor Volume in mlor g No. of positive tubes =
d x 2] Example2
Vool | Wamedl SO 9% Corkdance Ut | Ry
~Cefas = st seres|tost sres (| PN [ R92MPN | iog, vipn | “omer | Upper | index | C0%Y]
. T Janpet |
i fiidh €l Caposr pails Lewiss Tlo_oftubes[No. of posite tubes|
Sioday ) N o o facr s h G388 for noclatnghe bes o ow L, 10 i), 01 (s i 10), of confirmed positives (e.g. T8X)
= The omewis e o f e Sutonacdedtoeachunen o = el s
22| Target organism / Test medium:
Dilution factor Volume in mi or g No. of positive tubes
ool | Tame % Cordence Uit =
test s tet sories
7 [oange? |
2
~ 2
<« » 30 - z
Page 14 of 18 5898 words 0% B B - 1 + 90% + ¢

1434
= O o301 t 10/03/2017




12.3.2 Calculating the MPN value using 4 dilutions 

1. Open the link http://standards.iso.org/iso/7218/ (ISO 7218 – Amendment 1, section 10.5.6.3). 
2. The ISO Standard Maintenance portal screen will appear.  Click once the underlined name ‘MPN calculator Excel programme ver5’.
[image: image7.png]H - = Issue_14_EURL_Generic_SOP_E coli_draft [Compatibility Mode] - Word Louise Stockley (Cefas) @~ — O
- N httpy/standards.iso.0rg/iso/7218/ 1SO Standards Maintenance. N o
= = File [QCCUCH insert Design Layout References  Mailings  Review  View  Q Tell me whatyou want to do S Share 3 % Share
- ;-l‘”! o 7 <“NRL-NRL G Google [EJ 15O - Intemational Organi... Il Lovisesstockley@cefasco... & Public Health England Pr.. i
. - ind -
Calibri -0 -|A A Aa- B iz 2L T uassccp AABBCC A
/8 aBbhCc AaBbCcl o |
Pt - cReplace O Standards Maintenance Portal
ste . - Sl . . . .
€ ¢ B T U -abex: X H Caption T Heading 1 1 Heading 2 THeading 3 || [\ sefect~ o 1218
_ _ Clipboard fi Font n Paragraph n Styles R Ediing ~ Type Name Size
O O 20, EURL N R CFERRE IR IRREINREIRY SRRRZNEE TRRT ERRI U RIIRRI IR CIRRIURRICIRREC = o L) MPN calculation Excel programm_ver5 xis 284KB
% o irsdamic ..
12.2 Appendix 3: Appll n and use of the MPN calculator
. 12.2.1 Calculating the MPN value using 3 dilutions
E - 1. Open the link http://standards.iso.org/iso/7218/ (ISO 7218 — Amendment 1, section 10.5.6.3).
AN paviaw o b
[CT]) - 2. The ISO Standard Maintenance portal screen will appear. Click once the underlined name ‘MPN calculator
- Excel programme vers’.
- 3. On clicking the ‘MPN calculator’ link, an MPN calculator program excel spreadsheet will open. Click on the _
- “Enable Content’ button at the top of the spreadsheet to enable all macros. NALEOR  OI6, pslits
H vl ifen P
o ) SECURTY WARNING Macros hve b bl
- ) - 5
| < A . c e
<~Cefas N 1 MPN calculation program, version 4 dated 2015-04-14
- 2| Ths Excel programis e sobware. s disbated i th hape tht i il bs usef, Fordutas see: 8. Jans, .\
it sy 0, Vilie-esans ] T vatosonywarany For sssisance, contactwichéouiass s e Pleseenot hat an
@ 4. Fill in cells €20 to €23 (shaded in yellow) as described below. Once cells C20 to €23 are filled in press the
- return button. The required number of data boxes will automatically appear below (one for each test series
E El specified in C22).
~Cefas - -
X a « “Name of experiment’ — The name given for the work performed.
wsifers fiidh) o, Capasy gl !uunj - + ‘Date of experiment’ — The date the work was carried out.
Siedday| - * “Total no. of test series / matrices’ — The value recorded will determine how many sets of sample tables
el will be generated automatically. A total of 18 samples can be inputted into the spreadsheet at one time.
- « “Maximum no. of dilutions’ — The value recorded is based on the number of dilutions examined. E.g. For
i the example given below 5 dilutions were examined (N, 10, 107, 10 and 10%).
k4 20| Name of experiment: 1 Number of
. 21__Date of experiment.
samples
It} 22 Total no. of test series/matrices (up to 18): tested
- 23 Maximum no_of dlutions (up to 50)
24
7 ] % Number of
- 26| Name of test series/matrix = sample reference: lutions.
Page 13 0f 18 5906 words ] B - - I +

13:05 o 3:05
10/03/2017 10/03/2017




3. On clicking the ‘MPN calculator’ link, an MPN calculator program excel spreadsheet will open. Click on the ‘Enable Content’ button at the top of the spreadsheet to enable all macros.


[image: image8.png]R nttp//standarasiso.org/iso/7218/ £ ~ & 150 standards Maintenance.

“NRL-NRL G Google ] 150 - Intemational Organi... M| Louisestockiey@cefasco... & Public Health England Pr...

MPN calculation Excel programm_ver5 [Compatibility Mode] - Excel
Insert  Pagelayout Formulas Data Review View  Q Tell me what you want to do
?D & cut Arial BT Wrap Text | ! p
| D Insert Delete Format
| Paste Merge & Cente . a nsert Delete Forma
B0, ;:m\ - < Format Painter S N . & Clear~
Clipboard n Font Alignment Number Styles Cells Editing
' SECURITY WARNING Some active content has been disabled. Click for more details. | Enable Content
— R7C1 M Je
W e
| 1 2 3 4 5.6 7 8 9 10 1 12 13 14
i MPN calculation program, version 5, dated 2017-01-09, for calculating most probable numbers, their standard deviations, confidence bounds and rarity values. _
2 More information can be found in the following sheets ‘Equations & Info' and 'Examples’. For details see: B. Jarvis, C. Wilrich and P.-T. Wilrich, Journal of Applied Microbiology 109, 2010, 1660-1667. Print Tables color |
3 This Excel program is distributed in the hope that it will be useful, but without any warranty. It can be downloaded at: www.wiwiss.fu-berlin.de/fachbereich/wi/iso/ehemalige/wilrich/index.html. _
There you have also the possibility to subscribe to a newsletter informing about updates of the program. For assistance contact: wilrich@wiwiss.fu-beriin.de. Print Tables b/w
4
5 General data and data for generating the input tables How to use this program (Macros have to be enabled):
- - - . 1. Enter the no. of test series (up to 30) and the max. no. of dilutions (up to 30) per test series into the yellow table.
el 6 Name of experiment Date of experiment No. of test series Max. no. of dilutions » The tables for your input data will be generated automatically below.
it fiid] 7 2. Enter your datainto the yellow cells of the input tables generated according to step 1
3. Press 'Ctri+m'to start the calculation or use the button 'Calculate Results'”
8| Note: Atest series / matrix consists of the different dilutions for one target organism / test medium. P The results will be shown below in a green table (with two signifcant decimals in columns 8 to 12).
9 4. You can change the no. of test series or dilutions in row 7 at any time (and preserve data you entered before).
5. You can also change the data in the input tables at any time.
~cotd 10 » Changes of the input data cause the restits table to be deleted but you can re-calculate as per step 3 at any time.
i " 6. You can print the tables (with a dynamically adjusted print area) using the buttons 'Print Tables'
k]
« ‘Date of experiment’ — The date the work was carried out.

« “Total no. of test series / matrices’ — The value recorded will determine how many sets of sample tables
will be generated automatically. A total of 18 samples can be inputted into the spreadsheet at one time.

« “Maximum no. of dilutions’  The value recorded is based on the number of dilutions examined. E.g. For
the example given below 5 dilutions were examined (N, 10, 102, 10° and 10%)

151

16

20 Name of experment Vo[ Number of

24 Tiata of avnarimant

Page 13 of 18 5906 words. [nc} =

13:09

1 dx

10/03/2017

allziso /7218
Type Name size
) MPN calculation Excel programm_ver5 xis 284KB

3:09
10/03/2017




4. Enter the number of test series and dilutions in the relevant cells. Once the cells are filled, the required number of data boxes will automatically appear below (one for each test series specified). 
· ‘Name of experiment’ – The name given for the work performed. 

· ‘Date of experiment’ – The date the work was carried out.

· ‘No. of test series’ – The value recorded will determine how many sets of sample tables will be generated automatically.  A total of 30 samples can be inputted into the spreadsheet at one time.  

· ‘Max. no. of dilutions’ – The value recorded is based on the number of dilutions examined. E.g. For the example given below 4 dilutions were examined (N, 10-1, 10-2 and 10-3).


[image: image9.png]MPN calculation Bxcel programm_verS [Read-Only] [Compatibility Mode] - Excel Louise Stockley (Cefas) B
R U Insert  Pagelayout Formulas Data  Review  View  Q Tellmev ant to do
= oli_draft V1 [Com
TER. , i, & Cut Arial A - u
Insert  Design Layout References Mailings  Review View  Format  Q Tellme B Copy
oy [calio Paste - Insert Delete Format Find &
alibri  Format Painter > o o -
: e sassccpar AABBCC AaBbCc e
g B I U-~abkeX, X M Clipboard ~ Font Alignment Number Styles cells Editing ~
Paste ay . A - ) TCaption THeading 1 1Heading2 | Editing
15100 OIS, 21 - W -A-ha- KA MEAR - Viadia SO FEE . .
slow B Cppoard Font & Paragraph & Styles & putsitoresi] 0, {06 Use ol
RS R 51 10200031 415 6178 19100 1 A1 1120 11301 140 1150 1 16614170 1181 1 2 5.6 7 8 ] 10 1 12 13 1 15 16 17 18 19 20 21 22 23 (.
e e o e of smole tables il b e L MPN calculation program, version 5, dated 2017-01-09, for calculating most probable numbers, their standard deviations, confidence bounds and rarity values, _Calculate Results |
W o.of test s~ Thevalue recorded wil deermine how many et ofsample tbles il e generae 2 | or st an o o Sht st 1 Sl Fo G 396, s, . Ah n T WHich Joal of ol Hzokdog 10,201, SS0-057. e o]
automatically. A total of 30 samples can be inputted into the spreadsheet at one time. B ‘This Excel program is distributed in the hope that it will be useful, but without any warranty. It can be downloaded at: www.wiwiss fu-berlin.deffachbereichAwliso/ehemaligeiwilrichfindex html
[—— « “Max. no. of diutions’ — The value recorded is based on the number of dilutions examined. . For the Qesm2)  Resu2i® There you have sl2o the pocsiblt o sUBSTHDE 1o & newSIetler nforming about Updates of he program. For assistance contact wiich@wiwiss fu-perlin ge. FE—
o) example given below 3 dilutions were examined (N, 10 and 10?). A, rlEes €2, oalkes G &
Number of samples tested s General data and data for generating the input tables How to use this program (acros have to be enabled)
s Gonoraldaa and data forgenerating tho inpt tables o | Name of sxperment | Date of xporiment | No_oftestseies | Max no.ofdiuions | Eerieno ot sres upo3) and b max i o itons (uplo 30) et s it e el ble
5 | Name of experiment | Date of experiment | No. oftest series | -#ax no. of dilstions || Number of dilutions examined 7 2 4 2. Enter your data into the yellow cells of the irput tables generated according to step 1
B 2 3 3. Press ‘Drtern o stat the calclston or se the buton Calcuats Results'
o = —| 8| Note: Atest series / matix consists of the different dilutions for one target organism / test medium. > The resuls vill be shown belowin a green table [with twa signifeant decimals in columns Bto 12).
Note Atestseie i consists of e iflrent itons forone trget rgansm st mecium N . o 4. You can change the o, of tes sriesor ditions i row 7ot sy e (s preserve e you ertered befor).
B e el 5. You can also change the data i the np ables st any e
ot Tho diuionace d 1 o Gl 3k ceedFor ool s o ot rom 12 10 v o A 10, Note The diluion factord isthe dilifon rao used forineculating the tubes ofthal ron, .. 10 > Changes o the it cata causs th resulstable o be deleted but you can e-callte 3 per step 3.t any e
. (e {undiluied), 6. You can prink the tsbles (it a dymamicaly acisted printarca Lsing the butons Print Tables
13| 0ted 1 0) e _The vl i h vl f th dluon s o sch b i . 11| D {diluted 1in10), sto._Th volumess i the volurne ofth diuon addedto esch tube i tha row - P yramicalyadisted p o
n Input data » Input data
s Toteee 1 Wi Do 12 [Test seres 1 7 Wawo T~ Devignaion
ECafad ie _Tomtogen | Tes ot — — - = 14| Terget organism / Test medium:
15 Olwonfactor | Voumemmiorg o oitubes | Mo of posie tubes
i i B Wi o " o ' o PR el 15| Diutionfactor | Volume nmiorg No.oftubes | No. o positive tubes
5 - d w n x
s Y
F » s
»
Ecatad E 21 Tostsons 7 7 Watin 2 — Gesignaton D
= 22 Targetorganiam 1 Test medum: &=
it i o, Gy 2| Ditonfactor | Voumemmiorg | Nooftubes | Mo of postve tubes =
= d w n x 22| Test series 2 / Matrx 2_-_ Designation
2 23 | Target organism / Test medum:
= 24| Ditionfactor | Volumeinmiorg No.oftubes | No. o positive tubes
- 25 d w n x
%
109 205 z
wedizg Cefas protocol - Enum: £, Coliin bivalve molluscan shelfsh by hrig e
23
0
a1
2 =
lesuele 0301 Program || Equations & nfo. | [JEXGmpIEs) < >
Page 13 of 19 7057 words + 0%

1028 o 1028
13/03/2017

71 dx

13/03/2017




5. Populate the data table as follows:
· Column 1 - Insert the homogenate concentration used to inoculate each row of MMGB tubes.

· Column 2 - Insert the volume of inoculum added.

· Column 3 – Insert the number of MMGB tubes inoculated at each dilution. (For the E. coli generic protocol 5 tubes are inoculated for each dilution). 

· Column 4 – Insert the number of positive tubes on TBGA/TBX at each dilution. 

[image: image10.png]MPN calculation Excel programm_ver5 [Read-Only] [Compatibility Mode] - Excel

References Review  View  Q Tellme

Layout Mailings

Insert  Pagelayout Formulas Data Review View Q Tellme

& aut Arial -l - Wrap Text | p

4aBbccDdt AABBCC AaBbCc B
- . . . B Copy -
Clip! Feste « W.A-Aa- AN D--AT Caption 1 Heading 1 1 Heading 2 | E91"N9 5 Iy A Merc > Insert Delete Format Find &
- Z-A H- |8 - < Format Painter - - Filter - Select~
L | clipboard Font & Paragraph & Styles ~ ~ Clipboard ~ Font Alignment Number Styles Cells Editing ~
P O EERE TRRE IR TNRE ERRC THYRANEE AL IR INR IR R R TR R
M- «  Column D~ Insert the number of positive tubes on TBGA/TBX at each dilution. R7C1 - v
o - o oo ot seme sl 1 2 s 4 sie 7 s E] 10 1n 1 ] 1 15 1 u 15 1 20 2 2.
M 26 _Lame oftest sens/mair— sample reference 1 MPN calculation program, version 5, dated 2017-01-09, for calculating most probable numbers, their standard deviations, confidence bounds and rarity values, _Calculate Results |
b 28 Dilaton fagtor= T Volome ATorg™ | No. of tubss [No. of positve tubes 2| Wore formaton can be found n e following Sheets Equalions & Inf’ and Examples. For detas e . Jas, C. Wiich and P Wiich, Jourl of Applied Wicrobiology 103, 2010, 16001957, e aies coler |
ol - = There you have also the possibilty o subscibe fo a newsleter informing about updates ofthe program. For assistance contact wilich@uiwiss fu-berin de. printTables b
s
2 31 ——
o & R General data and data for generating the input tables How to use this program (acros have o be enabled):
) 1. Enter the . ofest series (up 1o 30) andl the mas. no.of diutions (up 0 30)per tes seies nto the vellow tale.
S 3 6 MName of experiment | Date of experiment | No.of test series | Max. no. of dilutions - The tables or your input daa will be geerated automatically below
ol 2. Enter your data it the yellow cels of the inputtables generated sccarding o sep 1
resmatrix 7
2 Bl No- of test series/matrbc__ NRLEGA O peslils 3. Press ‘Cirlem! o ster the calcullion orse the butan Calculate Pesuls
Sl= 36] Name of test series/matrix = sample reference: e 8| Note: Atest series / matrx consists of the different diluons for one target organism / test medium. > The resuilts will be shown below n a green table (it two sigrifcant desimals in colurns 8o 12)
ol 37 Test medum of target oganiem:_ M - Ve i s oct oo 4. Voutcan chane the o o e seiesor lons i tow 7t any i (sl proserve data o entercd before)
= 38| Dilution factor - ume in i or g ™ lo_of tubes | No. of positive tubes 5. You can also change the datain the input ables at any e
a2 “ | a2 BT 0 oo s kst ittt s o 6. You can print the tables (with » cyramically acsted prnk aea) using the butans Print Tables'
. M e b Input data Results of the MPN calculations
it i 0, Vil s 2l 43 Test series 1 / Matrix 1_-_Designation
M- Homogenate Volume of Number of MMGB Number of positive ALsneiorgpstes il e D
& concentration used to inoculum added tubes inoculated tubes on TBGA/TBX No. of positive tubes
a7 inoculate MMGB tubes
2 Note: An MPN that all into category 3 is unreliable and should not be used. The respeciive fows are marked in biue.
~Cefas = e 6. Press ‘Ctrl M. The MPN value (MPN/g) will be calculated in column H and the category in column N.
il N EERR M
Siteieday jou., NE st sories| tostsores | MP {109 | g, ipn | “Lower | Upper | ndex |9
5 T Toang
N Test series 2 / Matrix2 - Designation
H s e S E——— e
"l = Thevoume s megums of e dutonscotoszcnuoe o
sl - MPN/g Category
s number ey
81 o of | Mameor SO | 95% Conbdence Limts | Rar 1
I et sores| testseies |\ {99 MM g uon | Lover | Uper | e\ | O
. 7 [oanger <
ra B -
Program | Equatons 8o EGMHES] : ;
R R F B - all/ 29 |
Typ Reacy & e .

&) MPN calculation Excel programm_ver5 xis

1034
M|

13/03/2017

13/03/2017





6. Press ‘Ctrl M’ or press Calculate results (green button).  The MPN value (MPN/g) will be calculated in column 8 and the category in column 14. 

[image: image11.png]MPN calculation Excel programm_ver5 [Read-Only] [Compatibility Mode] - Excel

References Review  View  Q Tellme

Layout Mailings

Insert  Pagelayout Formulas Data Review View Q Tellme

& aut Arial -l - Wrap Text | p

4aBbccDdt AABBCC AaBbCc B
- . . . B Copy -
Clip! Feste « W.A-Aa- AN D--AT Caption 1 Heading 1 1 Heading 2 | E91"N9 5 Iy A Merc > Insert Delete Format Find &
- Z-A H- |8 - < Format Painter - - Filter - Select~
L | clipboard Font & Paragraph & Styles ~ ~ Clipboard ~ Font Alignment Number Styles Cells Editing ~
P O EERE TRRE IR TNRE ERRC THYRANEE AL IR INR IR R R TR R
M- «  Column D~ Insert the number of positive tubes on TBGA/TBX at each dilution. R7C1 - v
o - o oo ot seme sl 1 2 s 4 sie 7 s E] 10 1n 1 ] 1 15 1 u 15 1 20 2 2.
M 26 _Lame oftest sens/mair— sample reference 1 MPN calculation program, version 5, dated 2017-01-09, for calculating most probable numbers, their standard deviations, confidence bounds and rarity values, _Calculate Results |
b 28 Dilaton fagtor= T Volome ATorg™ | No. of tubss [No. of positve tubes 2| Wore formaton can be found n e following Sheets Equalions & Inf’ and Examples. For detas e . Jas, C. Wiich and P Wiich, Jourl of Applied Wicrobiology 103, 2010, 16001957, e aies coler |
ol - = There you have also the possibilty o subscibe fo a newsleter informing about updates ofthe program. For assistance contact wilich@uiwiss fu-berin de. printTables b
s
2 31 ——
o & R General data and data for generating the input tables How to use this program (acros have o be enabled):
) 1. Enter the . ofest series (up 1o 30) andl the mas. no.of diutions (up 0 30)per tes seies nto the vellow tale.
S 3 6 MName of experiment | Date of experiment | No.of test series | Max. no. of dilutions - The tables or your input daa will be geerated automatically below
ol 2. Enter your data it the yellow cels of the inputtables generated sccarding o sep 1
resmatrix 7
2 Bl No- of test series/matrbc__ NRLEGA O peslils 3. Press ‘Cirlem! o ster the calcullion orse the butan Calculate Pesuls
Sl= 36] Name of test series/matrix = sample reference: e 8| Note: Atest series / matrx consists of the different diluons for one target organism / test medium. > The resuilts will be shown below n a green table (it two sigrifcant desimals in colurns 8o 12)
ol 37 Test medum of target oganiem:_ M - Ve i s oct oo 4. Voutcan chane the o o e seiesor lons i tow 7t any i (sl proserve data o entercd before)
= 38| Dilution factor - ume in i or g ™ lo_of tubes | No. of positive tubes 5. You can also change the datain the input ables at any e
a2 “ | a2 BT 0 oo s kst ittt s o 6. You can print the tables (with » cyramically acsted prnk aea) using the butans Print Tables'
. M e b Input data Results of the MPN calculations
it i 0, Vil s 2l 43 Test series 1 / Matrix 1_-_Designation
M- Homogenate Volume of Number of MMGB Number of positive ALsneiorgpstes il e D
& concentration used to inoculum added tubes inoculated tubes on TBGA/TBX No. of positive tubes
a7 inoculate MMGB tubes
2 Note: An MPN that all into category 3 is unreliable and should not be used. The respeciive fows are marked in biue.
~Cefas = e 6. Press ‘Ctrl M. The MPN value (MPN/g) will be calculated in column H and the category in column N.
il N EERR M
Siteieday jou., NE st sories| tostsores | MP {109 | g, ipn | “Lower | Upper | ndex |9
5 T Toang
N Test series 2 / Matrix2 - Designation
H s e S E——— e
"l = Thevoume s megums of e dutonscotoszcnuoe o
sl - MPN/g Category
s number ey
81 o of | Mameor SO | 95% Conbdence Limts | Rar 1
I et sores| testseies |\ {99 MM g uon | Lover | Uper | e\ | O
. 7 [oanger <
ra B -
Program | Equatons 8o EGMHES] : ;
R R F B - all/ 29 |
Typ Reacy & e .

&) MPN calculation Excel programm_ver5 xis

1034
M|

13/03/2017

13/03/2017




7. Check the category of each sample tested and accept only MPN results that give a category 1 or category 2 profile.  Reject all MPN results that fall within a category 3.
· For example 1 - the MPN/100g can be used.

· For example 2 - the result is rejected and reported as a ‘Void’ result.  A repeat sample must be requested.

8. The MPN calculator calculates the MPN per gram (MPN/g).  E. coli results are reported as MPN per 100g (MPN/100g).  Multiply the value given in column 8 by 100 to give the results in MPN/100g.

For the examples given above

· For example 1 - 220 x 100 = 22 000 MPN /100g.

· For example 1 - A repeat sample would need to be requested as it has a category number of 3.

9. For samples that give a tube combination of 0, 0, 0, 0 or 5, 5, 5, 5 the MPN calculator will calculate a value of 0 and infinity respectively (see below).  An estimated MPN value given for these tube combinations of 0, 0, 0, 0 and 5, 5, 5, 5 should be assigned values of <18 and >180 000 per 100g.

[image: image12.png]Lou

layout  References  Mailings  Review View  Q Telln

O O i
TieEe. 2007 Calibri (Body)
L sasbceodl AABBCC AaBbCc | ©
= B I U-acx,x % E R . . * | kditing
o - 2'&' M- KA D~ e %i T Caption Heading 1 THeading2 < -
Clipboard 1 Font n paragraph n Styles n ~
. I
profile. Reject all MPN results that fall within a category 3.
* Forexample 1- the MPN/100g can be used.
* For example 2 - the result s rejected and reported as a ‘Void result. A repeat sample must be
requested.
8. The MPN calculator calculates the MPN per gram (MPN/g). E. coli results are reported as MPN per 1005
(MPN/100g). Multiply the value given in column H by 100 to give the results in MPN/100g.
Forthe examples given above
* Forexample 1-22x100=22 000 MPN /100g. MLIR LI
 Forexample 1- A repeat sample would need to be requested as it has a category number of 3. [EECTOME O
Page 17 of 18
8| Issue 14: 03.03.17
~~Cefas = o
s fif o, G gty leviss | 7
Stedday jo. |
Page 17 of 18 5787 words LI4 @ B

10:53
13/03/2017

0

MPN calculation Excel programm_verS [Read-Only] [Compatibility Mode]

Insert  Pagelayout Formulas Data Review View Q Tellme ou want to do

?D & aut Arial A - Wrap Text

Bl Copy -

Paste Merc - Insert Delete Format Find &
< Format Painter - - Select -
Clipboard n Font Alignment Number Styles cells Editing ~
R7C1 - v
1 2 3 4 sle 7 s E] 10 1n 1 ] 1 15 1 u 15 20 2 2.
1 MPN calculation program, version 5, dated 2017-01-09, for calculating most probable numbers, their standard deviations, confidence bounds and rarity values, _Calculate Results |
2| Wore formaton can be found n e following Sheets Equalions & Inf’ and Examples. For detas e . Jas, C. Wiich and P Wiich, Jourl of Applied Wicrobiology 103, 2010, 16001957, e aies coler |
5| This Excel programis disiributed in the hope that it will be useful, but without any warrany. tcan be downloaded at www wiiss fu-berin,deffachbereichiwlisolehemaligefwilichfindex i _printTables color |
There you have also the possibilty o subscibe fo a newsleter informing about updates ofthe program. For assistance contact wilich@uiwiss fu-berin de. printTables biw
s
R General data and data for generating the input tables How to use this program (acros have fo b enabled)
1. Erterthe .o testseies (up o 30) an the max. 10, ofditons (up o 30) per st seies it the pelow table.
6 MName of experiment | Date of experiment | No.of test series | Max. no. of dilutions > Th tables for your rput data il be genersted autcrnatcally below.
B 2. Erteryour catairto the yellow cll o the inputtables generaed sccording o step 1
3. Press Cilsm to stat the calculaton or s the buton Caleae Results'
2| Note: Atest series / matrix consists of the difierent dilutions for one target organis /test medium. > The resuils will be shown below in a green table (with two sigrifeant decimals in columins 8o 12)
o 4. You can change the o, of tes sriesor ditions i row 7ot sy e (s preserve e you ertered befor).
5. You can also change the datain the input ables at any e
o] e Tt o 4 e i e o e e o 1 10 bty e s s 3t e
| e 1.e. Tre volumenw isihe volums o th diton adcd o ssch bein thatrow 6. You can print the tables (with » cyramically acsted prnk aea) using the butans Print Tables'
Input data Results of the MPN calculations
Test series 1 / Matrix 1 - Designation
Target organism / Test medium:
No. of positive tubes
Test series 2 / Matrix2 - Designation
Target organism / Test medium:
Program_| Equatons 1o JEMPS] <
Ready i) = 1

MPN calculation Excel programm_ver5 xis

Page 140f 18 5868 words LI

13/03/2017





Number of samples tested





Number of dilutions examined





Homogenate concentration used to inoculate MMGB tubes





Number of positive tubes on TBGA/TBX








Number of MMGB tubes inoculated 





Volume of inoculum added





MPN/g








Category number








Number of samples tested





Number of dilutions examined





Number of positive tubes on TBGA/TBX








Number of MMGB tubes inoculated 





Volume of inoculum added





Homogenate concentration used to inoculate MMGB tubes





Category number








MPN/g











� Allow media to equilibrate at room temperature before use.


� Formulations provided in this generic protocol are based upon the use of Oxoid Ltd listed products for illustrative purposes, alternative suppliers of media and reagents can be used according to the manufacturers’ instructions


� For performance testing of media and reagents see Table 1.


� Alternative equipment can be used to open bivalve shellfish.


� ISO 6887-3 allows the use of PSS for the preparation of the primary dilution. EURL advice is to use 0.1% P instead at this stage in order to avoid the addition of extra NaCl.


� Samples should be examined within 45 minutes after the end of preparation of the initial suspension and the end of the inoculum comes into contact with the final culture medium.


� If animals are particularly small, it may be necessary to use a smaller blender to achieve a consistent homogenate.


� The EURL recommends using a Rotary blender and not a stomacher when preparing clam and cockle samples for E. coli enumeration following results obtained from proficiency testing distributions.


� A 1µl loop can be used instead of a 10µl loop as given in ISO 16649-3. The EURL has shown the change in loop size has no practical consequences.


� Using a 1µl loop rather than a 10µl loop, as given in ISO 16649-3 avoids overgrowth of target colonies when segments of a plate are used. Comparative work carried out by the EURL showed sub-culturing MMGB tubes using a 1µl loop onto TBGA/TBX plates divided into 5 segments did not affect the MPN value.


� In accordance with ISO 7218, plates can be stacked no more than 6 high.


� The Shellfish MPN calculator has been developed specifically for use in bivalve shellfish testing.  The Excel spreadsheet MPN calculator cited in ISO 7218 (�HYPERLINK "http://standards.iso.org/iso/7218/"�http://standards.iso.org/iso/7218/�) can also be used to calculate the MPN value.  The MPN value calculated using the MPN calculator cited in ISO 7218 is reported as MPN/g and must be converted to MPN/100g (see Appendix 3).


� Species of relevance provided by EU NRLs.


� The list given in Appendix 1 includes bivalve molluscs, echinoderms, tunicates and marine gastropods. Commission Regulation (EU) No 505/2010 amending 854/2004 does not foresee a requirement for classification of marine gastropods.


� Sample sizes given in this table have been provided by NRLs. The weight of shellfish flesh and liquor should be at least 50g for the E. coli method (for very small species such as the Donax spp. a minimum amount of 25g is permitted). For species not given in the table, sufficient shellfish should be opened to achieve this minimum weight of flesh and liquor, with the provision that a minimum of ten animals should be used for very large species. In general, the more shellfish that are included in the initial homogenate, the less the final result will be influenced by the inherent animal-to-animal variation in E. coli concentration.


� Number of shellfish to be tested for E. coli. Regulation (EU) No. 2073/2005 specifies a minimum of 10 animals of any species should be examined. 


�  0 according to ISO 7218: Amd1. The use of <18 was agreed at the annual workshop of NRL (2014).


� 1800 according to ISO 7218: Amd1 but 1700 according to the ISO MPN calculator. 1700 confirmed by ISO statistical group.


�  ∞ according to ISO 7218: Amd1. The use of >18,000 was agreed at the annual workshop of NRL (2014).


� 0 according to ISO 7218: Amd1. The use of <18 was agreed at the annual workshop of NRL (2014).


�  ∞ according to ISO 7218:Amd 1. The use of >180,000 was agreed at the annual workshop NRL (2014)





9
Cefas protocol - Enumeration of E. coli in bivalve molluscan shellfish by the most probable number technique 
Page 2 of 19

